## Dataset collection
Data source | Data type | Location | Location detail | circuit level | sampling time | Unit | Data length | Unit | starting year | ending year | No of samples | Measurement | Data Quality | Reason | Remark and Future Work | Data Accessibility | Website | Data length | Sample Time | Samples>10 | Scale | Length>1year | After 2010 | Sampling Time<30min |  | Samples>60 | ST score | LocationScore | Type Score | Total Score
PVOutput | PV | within Australia | customer across Australia | individual | 5 | min | 5 | years | 2010 | 2020 | 5500 | Active Power | unknown |  | available data veraies greatly by customers, ranging from 1 to >10 years | contact someone | dataset pull instruction and contact: https://pvoutput.org/help.html#dataservice | 5 | 5 | TRUE | TRUE | TRUE | TRUE | TRUE | 5 | 2 | 3 | 1 | 0 | 6
UMass Trace – Solar panels dataset | PV | outside Australia | Massachusetts, US | individual | 1 | min | 1 | years | 2015 | 2015 | 50 | Active Power | high | PV generation by solar panel |  | immediate download | dataset download: http://traces.cs.umass.edu/index.php/Smart/Smart | 1 | 1 | TRUE | TRUE | TRUE | TRUE | TRUE | 5 | 0 | 4 | 0 | 0 | 4
Ausgrid Solar home electricity data | PV & load | within Australia | Ausgrid Zone | individual | 30 | min | 3 | years | 2010 | 2013 | 300 | Actibe Power of general & controlled load, PV generation | high | DNSP | 300 customers were selected from a pool of 15000 with electricity consumption and PV generation of top and bottom 10% customers excluded. Details please see section 2 of this article. Load and PV generation profiles have been studied in detail already | immediate download | Article: https://www.tandfonline.com/eprint/J5SazIBS5UZifbuzKYgV/full | 3 | 30 | TRUE | TRUE | TRUE | TRUE | TRUE | 5 | 2 | 0 | 1 | 1 | 4
Smart-Grid Smart-City | PV & load | within Australia | Ausgrid Zone | individual | 30 | min | 2 | years | 2010 | 2014 | 78200 | Actibe Power of general & controlled load, PV generation | high | DNSP & Aus gov. | Details of households, e.g. usage of gas heating, air-conditioning and clothes dryers, are found for certain customers. One of the few load/PV profile in Australia. Can be used for correlation study of usage behaviour and electricity consumption | immediate download | dataset download: https://data.gov.au/dataset/ds-dga-4e21dea3-9b87-4610-94c7-15a8a77907ef/details | 2 | 30 | TRUE | TRUE | TRUE | TRUE | TRUE | 5 | 2 | 0 | 1 | 1 | 4
MAISY | PV & load | outside Australia | Massachusetts, US | individual | 15 | min | 1 | years | 1999 | 2020 | 7000000 |  |  |  | 0.5s – 5mins kW Profile for project-based customer. Contact the company for free example of data/trial of built-in visualisation tool, and validation of record of data | payment required | company contact: https://www.maisy.com/contact.htm | 1 | 15 | TRUE | TRUE | TRUE | TRUE | TRUE | 5 | 2 | 1 | 0 | 1 | 4
Reward Based Tariff (RBT) | Load | within Australia | Energex and Ergon Zone | individual | 30 | min | 2 | years | 2011 | 2013 | 504 | active power of general and controlled load, PV generation | high | DNSP | Data has been obtained by CSIRO before in this literature (p.18 table 2). The RBT scheme has use tariff to facilitate lower peak consumption, load profile data may be biased. | contact CSIRO | dataset (p.18 of publication) contact: https://data.csiro.au/dap/SupportingAttachment?collectionId=15331&fileId=916 | 2 | 30 | TRUE | TRUE | TRUE | TRUE | TRUE | 5 | 2 | 0 | 1 | 0 | 3
UMass Trace – Apartment dataset | Load | outside Australia | Massachusetts, US | individual | 15 | min | 2 | years | 2014 | 2016 | 114 | Active Power | high | High data quality, With good documentation | With weather data | immediate download | dataset download: http://traces.cs.umass.edu/index.php/Smart/Smart | 2 | 15 | TRUE | TRUE | TRUE | TRUE | TRUE | 5 | 2 | 1 | 0 | 0 | 3
Literature: Spatio-temporal modelling of electric vehicle charging demand and impacts on peak household electrical load | Load | within Australia | Victoria | individual | 1 | hour | 1 | years | 2033 | 2033 | 250 | SIMULATED House’s Load profiles (active power) with EVs charging/discharging pattern | high | CSIRO project | Simulation with 4 variables: -EV uptake: data from CSIRO literature, 3-month interval -EV travel: data from VISTA and VicRoad obtained from Victoria government, 1-hour interval -Household energy and power: simulation of weather and calculation of cooling and heating load from a commercial engine, 1-hour interval -EV charging and discharging: data=EV travel model, assumed charging at home, 1-hour interval | contact CSIRO | publication and contact: https://link.springer.com/article/10.1007/s11625-013-0235-3 | 1 | 60 | TRUE | TRUE | TRUE | TRUE | FALSE | 4 | 2 | 0 | 1 | 0 | 3
Public light profile From Appalachian Power, subsidiary of American Electric Power | Load | outside Australia | US | individual | 1 | hour | 1 | years | 2016 | 2016 | Unclear | Active power of public light energy consumption | unknown | DNSP of US but unknown processing | datasheet of some low-energy usage utility equipment, e.g. public lightning, CCTV can be found in AEMO website. | immediate download | Several links below: US public light dataset download: https://www.appalachianpower.com/account/service/choice/csp/LoadProfiles.aspx Geelong (Victoria) public light installation alocation and power rating: https://data.gov.au/dataset/ds-dga-13fe3bbc-c4b6-4427-adb1-49e8060fc4a0/details?q=public%20light datashet of Low-energy usage utility equipment: https://aemo.com.au/en/energy-systems/electricity/national-electricity-market-nem/market-operations/retail-and-metering/metrology-procedures-and-unmetered-loads/update-to-nem-load-table-unmetered-loads-current-proposals | 1 | 60 | TRUE | TRUE | TRUE | TRUE | FALSE | 4 | 2 | 0 | 0 | 0 | 2
High-resolution Industrial Production Energy (HIPE) data | Load | outside Australia | Germany | individual | 5.54 | second | 3 | months | 2017 | 2018 | 11 | Active/Reactive Power, THD, voltage/current | high | Karlsruhe Institute of Technology, public research university | Load profiles of 11 machines for an electronics factory, see their publication | immediate download | dataset download and publication: https://www.energystatusdata.kit.edu/hipe.php | 0.25 | 0.092333 | TRUE | TRUE | FALSE | TRUE | TRUE | 4 | 0 | 4 | 0 | 0 | 4
Australian Low Energy Houses (LEH) | PV & load | within Australia | Lochiel Park(LP) Green Village in Adelaide, South Australia | sub-circuit | 1 | min | 1 | years | 2013 | 2013 | 60 | Active Power | high | High data Quality (University of South Australia) with strict selection of houses and installation of monitoring system | Study done by University of South Australia Specific data for LEH in LP Green Village in Adelaide. Contact authors of the study for raw data | contact someone | publication and contact: https://www.sciencedirect.com/science/article/pii/S1876610214034018 | 1 | 1 | TRUE | FALSE | TRUE | TRUE | TRUE | 4 | 2 | 4 | 1 | 1 | 8
One-minute Solar irradiance | other | within Australia | Across Australia | area aggregated | 1 | min | 23 | years | 1997 | 2020 | 19 | Solar irradiance (avg,min,max,std,…) | high | Australia Bureau of Meteorology | 1-minute data is processed instead of real time | immediate download | dataset download: (submit 'One Minute Solar Data registration form', received email after half an hour with login detail and data access link. http://reg.bom.gov.au/climate/reg/oneminsolar/ | 23 | 1 | TRUE | FALSE | TRUE | TRUE | TRUE | 4 | 0 | 4 | 1 | 0 | 5
Residential Building Energy Efficiency Study | PV & load | within Australia | Melbourne Brisbane and Adelaide | sub-circuit | 30 | min | 5 | years | 2013 | 2017 | 163 | Active Power, gas and temperature | high | CSIRO project | Study of 209 houses (June 2012 to February 2013) Study of 163 houses (2013-2017) Specific data obtained by CSIRO, contact author of the study for data of metering | contact CSIRO | analysis and publication download: https://ahd.csiro.au/other-data/typical-house-energy-use/ | 5 | 30 | TRUE | FALSE | TRUE | TRUE | TRUE | 4 | 2 | 0 | 1 | 1 | 4
Original Zone Substation Load Data (NEAR Program) | Load | within Australia | NSW: Ausgrid, Endeavour Energy VIC: CitiPower and Powercor, Jemena, United Energy ACT: ActewAGL SA: SA Power Networks | substation | 30 | min | 10 | years | 2008 | 2020 | 500 | Active Power, some with reactive power | high | DNSP | Request data from DNSP of the missing states at Australia Energy Regulator website | immediate download | dataset download: https://near.csiro.au/search?type=advanced&query=Title%2Cis%20exactly%2COriginal%2CAND%2CAny%20field%2Ccontains%2C | 10 | 30 | TRUE | FALSE | TRUE | TRUE | TRUE | 4 | 2 | 0 | 1 | 0 | 3
Common Property Loads in Apartment Buildings | Load | within Australia | Sydney | sub-circuit | 15 | min | 1.5 | years | unknown | unknown | 25 | Active power of common property load | high | UNSW study | Study is conducted by UNSW which acquires CP loads data of apartments. Table 1 of the study summarise the characteristic of data of each building | contact someone | publication and contact: https://energyconsumersaustralia.worldsecuresystems.com/grants/813/AP%20841%20-%20PV%20and%20Demand.pdf | 1.5 | 15 | TRUE | FALSE | TRUE | TRUE | TRUE | 4 | 0 | 1 | 1 | 0 | 2
AEMO | Load | within Australia | Victoria, NSW, ACT, SA, QLD and TAS | area aggregated | 30 | min | 18 | years | 2002 | 2020 | 21 | Active power of general and controlled load | high | AEMO | 13 Net System Load Profile (NSLP) , 8 Controlled Load Profile (CLP) | immediate download | dataset download: https://aemo.com.au/energy-systems/electricity/national-electricity-market-nem/data-nem/metering-data/load-profiles | 18 | 30 | TRUE | FALSE | TRUE | TRUE | TRUE | 4 | 0 | 0 | 1 | 0 | 1
Standardised Zone Substation Gross Solar PV Generation (NEAR Program) | PV | within Australia | Zone by DNSP in Australia | substation | 1 | hour | 4 | years | 2011 | 2015 | 500 | Active Power | unknown | methodology, field names unknown |  | immediate download | dataset download: https://near.csiro.au/search?type=advanced&query=Title%2Cis%20exactly%2CStandardised%2CAND%2CAny%20field%2Cis%20exactly%2CPV%2520 | 4 | 60 | TRUE | FALSE | TRUE | TRUE | FALSE | 3 | 2 | 0 | 1 | 0 | 3
Small generation unit (SGU) installations | other | within Australia | Across Australia | area aggregated | 1 | month | 2 | years | 2019 | 2020 | 2000 | small-scale PV installations by month and postcode | high | Australia Clean energy regulator |  | immediate download | dataset download: http://www.cleanenergyregulator.gov.au/RET/Forms-and-resources/Postcode-data-for-small-scale-installations | 2 | 43200 | TRUE | FALSE | TRUE | TRUE | FALSE | 3 | 2 | 0 | 1 | 0 | 3
UK Power Networks Zone | Load | outside Australia | UK Power Networks Zone (includes London, Cambridge, Brighton and Dover) | substation | 10 | min | 5 | months | 2014 | 2014 | 20 | voltages at three phases | high | DNSP in UK |  | immediate download | dataset download: https://data.london.gov.uk/dataset/photovoltaic--pv--solar-panel-energy-generation-data | 0.41667 | 10 | TRUE | FALSE | FALSE | TRUE | TRUE | 3 | 0 | 2 | 0 | 0 | 2
Household EnergyEnd-use Project (HEEP) | PV & load | outside Australia | New Zealand | sub-circuit | 10 | min | 11 | months | 1999 | 2005 | 100 | Active Power | high | company BRANZ | Location and type of measurement see sections 1.1 and 4.1 respectively of the project report | contact someone | report download and contact: https://d39d3mj7qio96p.cloudfront.net/media/documents/SR221_Energy_use_in_New_Zealand_Households_-_final_HEEP_report.pdf | 0.91667 | 10 | TRUE | FALSE | FALSE | FALSE | TRUE | 2 | 2 | 2 | 0 | 1 | 5
UK Power Networks Zone | PV & load | outside Australia | UK Power Networks Zone (includes London, Cambridge, Brighton and Dover) | individual | 1 | min | 3 | months | 2014 | 2014 | 6 | Active/Reactive Power, THD, voltage and current. | high | DNSP in UK | 1-min and 10-min data are available for customers, feeders and network endpoints from mid-June 2014 to early September 2014. Hourly data is available for period of roughly a year from October 2013 to October 2014. Weather for the period of recording data is also provided. Detail data and well documented. | immediate download | dataset download: https://data.london.gov.uk/dataset/photovoltaic--pv--solar-panel-energy-generation-data | 0.25 | 1 | FALSE | TRUE | FALSE | TRUE | TRUE | 3 | 0 | 4 | 0 | 1 | 5
UMass Trace – Home dataset | PV & load | outside Australia | Massachusetts, US | sub-circuit | 1 | min | 1 | years | 2016 | 2016 | 6 | Active Power | high | Project based with documentation |  | immediate download | dataset download: http://traces.cs.umass.edu/index.php/Smart/Smart | 1 | 1 | FALSE | FALSE | TRUE | TRUE | TRUE | 3 | 0 | 4 | 0 | 1 | 5
The Reference Energy Disaggregation Data Set | PV & load | outside Australia | Massachusetts, US | sub-circuit | 3 | second | 3 | weeks | 2011 | 2011 | 6 | Active power, computed reactive power from AC waveform | high | publication of analysed data | Analysis of data see the publication | contact someone | publication and contact: https://people.csail.mit.edu/mattjj/papers/kddsust2011.pdf | 0.057692 | 0.05 | FALSE | FALSE | FALSE | TRUE | TRUE | 2 | 0 | 4 | 0 | 1 | 5

## Benchmarking
Benchmarking
| Criteria | boundary | score
score
| Location | within Australia
outside Australia
| Circuit level | area aggregated
substation
individual
sub-circuit
| Sampling time | 1s - 1min
1min-15 min
30 min- 1hr
| No of sample | <60
>60
| Ending year | after 2010
before 2010
| length of data from (2010) | 0
< 1 year
1 - 3 years
>3 years
| Criteria | boundary | score | Threshold
|  |  | score | score
| No of sample | <10 |  | >60
10-60
60-500
500-2000
>2000
| Circuit level | area aggregated |  | individual or finer
substation
individual
sub-circuit
| length of data from (2010) | 0 |  | >1 year
< 1 year
1 - 3 years
>3 years
| Ending year | after 2010 |  | After 2010
before 2010
| Location | within Australia |  | within Australia
outside Australia
| Sampling time | 1s - 1min |  | 30 min
5min-30 min
1hr
Data type

## Field
Drop-down list options
Data type | Location | circuit level | Data Quality | Data Accessibility
PV & load | within Australia | substation | high | immediate download
Load | outside Australia | individual | medium | download with additional processing
PV |  | sub-circuit | low | contact CSIRO
other |  | area aggregated | unknown | contact someone
application needed
payment required